## SBVC HVAC Maintenance
SBVC HVAC Maintenance List
Building | COMPONENT DESCRIPTION | IDENTIFIER | QTY | UNITS | INSTALL DATE
Auditorium | AIR COMPRESSOR SYSTEM - HVAC CONTROLS (<=6 TOTAL HP) | CAC-1 | 3 | HP | 2014
Auditorium | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU-8 | 1 | HP | 2014
Auditorium | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU-9 | 1 | HP | 2014
Auditorium | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU-10 | 1 | HP | 2014
Auditorium | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU-2 | 1 | HP | 2014
Auditorium | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU-3 | 1 | HP | 2014
Auditorium | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU-4 | 1 | HP | 2014
Auditorium | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU-5 | 1 | HP | 2014
Auditorium | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU-6 | 1 | HP | 2014
Auditorium | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU-7 | 1 | HP | 2014
Auditorium | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU-1 | 1 | HP | 2014
Auditorium | AIR HANDLING UNIT - INDOOR (2.75-3.25 HP) | AHU-1 | 3 | HP | 2014
Auditorium | AIR HANDLING UNIT - INDOOR (2.75-3.25 HP) | AHU-2 | 3 | HP | 2014
Auditorium | AIR HANDLING UNIT - INDOOR (23-27 HP) | AH-1 | 25 | HP | 2014
Auditorium | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY, 2.5" SP (<=30 HP) | EF-4 | 3 | HP | 2014
Auditorium | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY, 2.5" SP (<=30 HP) | EF-3 | 3 | HP | 2014
Auditorium | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY, 2.5" SP (<=30 HP) | EF-2 | 3 | HP | 2014
Auditorium | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY, 2.5" SP (<=30 HP) | EF-1 | 3 | HP | 2014
Auditorium | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY, 2.5" SP (<=30 HP) | EF-6 | 3 | HP | 2014
Auditorium | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY, 2.5" SP (<=30 HP) | EF-5 | 3 | HP | 2014
Auditorium | PUMP - ELECTRIC (<=10 HP) | P-1 | 3 | HP | 2014
Auditorium | PUMP - ELECTRIC (<=10 HP) | P-2 | 3 | HP | 2014
Auditorium | PUMP - ELECTRIC (<=10 HP) | P-3 | 3 | HP | 2014
Auditorium | PUMP - ELECTRIC (<=10 HP) | P-4 | 3 | HP | 2014
Auditorium | DOMESTIC WATER BOOSTER SYSTEM | DHWP-1 | 1 | HP | 2014
Auditorium | VARIABLE FREQUENCY DRIVE (<=5 HP) | VFD-1 | 3 | HP | 2014
Auditorium | VARIABLE FREQUENCY DRIVE (<=5 HP) | VFD-2 | 3 | HP | 2014
Auditorium | VARIABLE FREQUENCY DRIVE (<=5 HP) | VFD-3 | 3 | HP | 2014
Auditorium | VARIABLE FREQUENCY DRIVE (<=5 HP) | VFD-4 | 3 | HP | 2014
Auditorium | VARIABLE FREQUENCY DRIVE (20-25 HP) | VFD-5 | 25 | HP | 2014
Ship/Recv. | CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CU-1 | 3 | TON | 2000
Ship/Recv. | CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CU-2 | 3 | TON | 2000
Ship/Recv. | CONDENSING UNIT, EVAPORATIVE | CUE-1 | 3 | TON | 1960
Ship/Recv. | CONDENSING UNIT, EVAPORATIVE | CUE-2 | 3 | TON | 1960
Ship/Recv. | EVAPORATOR UNIT, ELECTRIC HEAT (<=5 KW) | CU-1E | 5 | KW | 2000
Ship/Recv. | EVAPORATOR UNIT, ELECTRIC HEAT (<=5 KW) | CU-1E | 5 | KW | 2000
PEC | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | PKG-2 | 4 | TON | 2000
PEC | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | PKG-1 | 4 | TON | 2000
Appl. Tech. | AIR COMPRESSOR SYSTEM - HVAC CONTROLS (<=6 TOTAL HP) | CAC-1 | 6 | HP | 1964
Appl. Tech. | AIR HANDLING UNIT - INDOOR (2.75-3.25 HP) | AHU-3 | 3 | HP | 2005
Appl. Tech. | AIR HANDLING UNIT - INDOOR (9-12 HP) | AHU-1 | 10 | HP | 2015
Appl. Tech. | AIR HANDLING UNIT - INDOOR (17-23 HP) | AHU-2 | 20 | HP | 1964
Appl. Tech. | FAN - AXIAL, SUPPLY, 2.5" SP (<=3 HP) 3800 CFM | EF-13 | 3 | HP | 1964
Appl. Tech. | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (10"-18" DIAMETER) | EF-1 | 1 | EA | 2000
Appl. Tech. | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (10"-18" DIAMETER) | EF-2 | 1 | EA | 2000
Appl. Tech. | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (20"-22" DIAMETER) | EF-8 | 1 | EA | 2015
Appl. Tech. | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (20"-22" DIAMETER) | EF-9 | 1 | EA | 2015
Appl. Tech. | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (20"-22" DIAMETER) | EF-10 | 1 | EA | 2015
Appl. Tech. | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (20"-22" DIAMETER) | EF-11 | 1 | EA | 2015
Appl. Tech. | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (20"-22" DIAMETER) | EF-12 | 1 | EA | 2015
Appl. Tech. | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (20"-22" DIAMETER) | EF-3 | 1 | EA | 2000
Appl. Tech. | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (20"-22" DIAMETER) | EF-4 | 1 | EA | 2000
Appl. Tech. | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (25"-30" DIAMETER) | EF-5 | 1 | EA | 2000
Appl. Tech. | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (25"-30" DIAMETER) | EF-6 | 1 | EA | 2000
Appl. Tech. | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (25"-30" DIAMETER) | EF-7 | 1 | EA | 2015
Appl. Tech. | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY, 2.5" SP (<=30 HP) | EF-19 | 3 | HP | 1964
Appl. Tech. | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY, 2.5" SP (<=30 HP) | EF-20 | 3 | HP | 1964
Appl. Tech. | FAN - UTILITY SET, 1/4" SP (4-12 HP) | EF-15 | 5 | HP | 1964
Appl. Tech. | FAN - UTILITY SET, 1/4" SP (4-12 HP) | EF-16 | 5 | HP | 1964
Appl. Tech. | FAN - UTILITY SET, 1/4" SP (4-12 HP) | EF-17 | 5 | HP | 1964
Appl. Tech. | FAN - UTILITY SET, 1/4" SP (4-12 HP) | EF-18 | 5 | HP | 1964
Appl. Tech. | FAN - UTILITY SET, 1/4" SP (4-12 HP) | EF-14 | 5 | HP | 1964
Appl. Tech. | CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CU-1 | 4 | TON | 2000
Appl. Tech. | CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CU-2 | 4 | TON | 2000
Appl. Tech. | CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CU-6 | 4 | TON | 2015
Appl. Tech. | CONDENSER - REFRIGERANT, AIR-COOLED (10-35 TON) | CU-3 | 15 | TON | 2015
Appl. Tech. | CONDENSER - REFRIGERANT, AIR-COOLED (10-35 TON) | CU-4 | 15 | TON | 2015
Appl. Tech. | CONDENSER - REFRIGERANT, AIR-COOLED (10-35 TON) | CU-5 | 15 | TON | 2015
Appl. Tech. | CONDENSING UNIT, EVAPORATIVE | CEU-1 TO CEU-14 | 70 | TON | 1964
Appl. Tech. | EVAPORATOR UNIT, ELECTRIC HEAT (<=5 KW) | CUE-1 | 5 | KW | 2000
Appl. Tech. | EVAPORATOR UNIT, ELECTRIC HEAT (<=5 KW) | CUE-2 | 5 | KW | 2000
Appl. Tech. | EVAPORATOR UNIT, ELECTRIC HEAT (<=5 KW) | CUE-6 | 5 | KW | 2015
Appl. Tech. | EVAPORATOR UNIT, ELECTRIC HEAT (>12.5 KW) | CUE-3 | 15 | KW | 2015
Appl. Tech. | EVAPORATOR UNIT, ELECTRIC HEAT (>12.5 KW) | CUE-4 | 15 | KW | 2015
Appl. Tech. | EVAPORATOR UNIT, ELECTRIC HEAT (>12.5 KW) | CUE-5 | 15 | KW | 2015
Appl. Tech. | UNIT HEATER - INDOOR, GAS, SUSPENDED (<=40 MBH) | UH-1,2,3,4,5,6,7,8,9,10 | 200 | MBH | 1964
Appl. Tech. | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | PKG-9 | 5 | TON | 2000
Appl. Tech. | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | PKG-1 | 4 | TON | 2000
Appl. Tech. | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | PKG-2 | 4 | TON | 2000
Appl. Tech. | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | PKG-3 | 4 | TON | 2000
Appl. Tech. | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | PKG-4 | 5 | TON | 2015
Appl. Tech. | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | PKG-5 | 5 | TON | 2015
Appl. Tech. | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (9-35 TON) | PKG-6 | 10 | TON | 2015
Appl. Tech. | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (9-35 TON) | PKG-7 | 10 | TON | 2015
Appl. Tech. | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (9-35 TON) | PKG-8 | 10 | TON | 2015
Appl. Tech. | AIR COMPRESSOR - MEDICAL/LABORATORY PCKG (20-40 HP), WITH DRYER | PAC-1 | 25 | HP | 2015
Planetarium | AIR HANDLING UNIT - INDOOR (9-12 HP) | ROOM 209 | 10 | HP | 1977
Planetarium | PUMP - ELECTRIC (<=10 HP) | CHW PUMP | 1 | HP | 2005
Library | AIR HANDLING UNIT - OUTDOOR PACKAGE (1.5-5 HP) | AC-8 | 5 | HP | 2003
Library | AIR HANDLING UNIT - OUTDOOR PACKAGE (1.5-5 HP) | AC-9 | 5 | HP | 2003
Library | AIR HANDLING UNIT - OUTDOOR PACKAGE (1.5-5 HP) | AC-10 | 5 | HP | 2003
Library | AIR HANDLING UNIT - OUTDOOR PACKAGE (1.5-5 HP) | AC-11 | 5 | HP | 2003
Library | AIR HANDLING UNIT - OUTDOOR PACKAGE (1.5-5 HP) | AC-12 | 5 | HP | 2003
Library | AIR HANDLING UNIT - OUTDOOR PACKAGE (1.5-5 HP) | AC-13 | 5 | HP | 2003
Library | AIR HANDLING UNIT - OUTDOOR PACKAGE (1.5-5 HP) | AC-16 | 5 | HP | 2003
Library | AIR HANDLING UNIT - OUTDOOR PACKAGE (1.5-5 HP) | AC-17 | 5 | HP | 2003
Library | AIR HANDLING UNIT - OUTDOOR PACKAGE (1.5-5 HP) | AC-18 | 5 | HP | 2003
Library | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (20"-22" DIAMETER) | EF-2 | 1 | EA | 2003
Library | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (20"-22" DIAMETER) | EF-1 | 1 | EA | 2003
Library | DUCTLESS DX SPLIT SYSTEM (1-2 TON) | CU-2 | 2 | TON | 2003
Library | DUCTLESS DX SPLIT SYSTEM (1-2 TON) | CU-1 | 2 | TON | 2003
Library | DUCTLESS DX SPLIT SYSTEM (1-2 TON) | CU-3 | 2 | TON | 2003
Library | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (9-35 TON) | AC-15 | 20 | TON | 2003
Library | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (35-55 TON) | AC-14 | 48 | TON | 2003
TeleCom Bldg. | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (9-35 TON) | AC-1 | 13 | TON | 2004
TeleCom Bldg. | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (9-35 TON) | AC-2 | 13 | TON | 2004
HLS | WALK-IN REFRIGERATOR OR FREEZER STRUCTURE | HLS-219 | 80 | SF | 2004
HLS | REFRIGERATION SYSTEM - WALK-IN, 2 EVAP FANS, 6700 BTUH, CONDENSER | HLS-219 | 1 | EA | 2004
HLS | FAN - UTILITY SET, 1/4" SP (4-12 HP) | EF-1 | 5 | HP | 2004
HLS | FAN - UTILITY SET, 1/4" SP (4-12 HP) | EF-9 | 5 | HP | 2004
HLS | FAN - UTILITY SET, 1/4" SP (4-12 HP) | EF-11 | 5 | HP | 2004
HLS | FAN - UTILITY SET, 1/4" SP (4-12 HP) | EF-5 | 5 | HP | 2004
HLS | FAN - UTILITY SET, 1/4" SP (4-12 HP) | EF-4 | 5 | HP | 2004
HLS | FAN - UTILITY SET, 1/4" SP (4-12 HP) | EF-7 | 5 | HP | 2004
HLS | FAN - UTILITY SET, 1/4" SP (4-12 HP) | EF-14 | 5 | HP | 2004
HLS | FAN - UTILITY SET, 1/4" SP (4-12 HP) | EF-16 | 5 | HP | 2004
HLS | FAN - UTILITY SET, 1/4" SP (4-12 HP) | EF-6 | 5 | HP | 2004
HLS | FAN - UTILITY SET, 1/4" SP (4-12 HP) | EF-13 | 5 | HP | 2004
HLS | FAN - UTILITY SET, 1/4" SP (4-12 HP) | EF-12 | 5 | HP | 2004
HLS | CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CU-1 | 2 | TON | 2004
HLS | EVAPORATOR UNIT, ELECTRIC HEAT (7.5-12.5 KW) | CU-1E | 10 | KW | 2004
HLS | DUCTLESS DX SPLIT SYSTEM (<=1 TON) | SSD-1 | 1 | TON | 2004
HLS | DUCTLESS DX SPLIT SYSTEM (<=1 TON) | SSD-2 | 1 | TON | 2004
HLS | DUCTLESS DX SPLIT SYSTEM (<=1 TON) | SSD-3 | 1 | TON | 2004
HLS | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-23 | 4 | TON | 2004
HLS | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-22 | 5 | TON | 2004
HLS | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-5 | 4 | TON | 2004
HLS | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-34 | 5 | TON | 2004
HLS | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-29 | 5 | TON | 2004
HLS | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-13, AC-25 | 10 | TON | 2004
HLS | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-16, AC-7 | 6 | TON | 2004
HLS | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (5- 9 TON) | AC-21 | 9 | TON | 2004
HLS | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (5- 9 TON) | AC-20 | 8 | TON | 2004
HLS | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (5- 9 TON) | AC-6 | 8 | TON | 2010
HLS | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (5- 9 TON) | AC-19 | 8 | TON | 2004
HLS | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (5- 9 TON) | AC-32, AC-24 | 12 | TON | 2004
HLS | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (5- 9 TON) | AC-4, AC-27 | 17 | TON | 2004
HLS | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (5- 9 TON) | AC-2, AC-28 | 12 | TON | 2004
HLS | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (5- 9 TON) | AC-17, AC-11 | 17 | TON | 2004
HLS | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (5- 9 TON) | AC-18, AC-12 | 17 | TON | 2004
HLS | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (5- 9 TON) | AC-3, AC-8 | 17 | TON | 2004
HLS | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (5- 9 TON) | AC-15, AC-33 | 17 | TON | 2004
HLS | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (5- 9 TON) | AC-1, AC-10 | 17 | TON | 2004
HLS | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (5- 9 TON) | AC-14, AC-26 | 12 | TON | 2004
HLS | VARIABLE FREQUENCY DRIVE (<=5 HP) | VFDAC-6 | 5 | HP | 2010
HLS | VARIABLE FREQUENCY DRIVE (<=5 HP) | VFDAC-3 | 5 | HP | 2010
HLS | VARIABLE FREQUENCY DRIVE (<=5 HP) | VFDAC-9 | 5 | HP | 2010
HLS | VARIABLE FREQUENCY DRIVE (<=5 HP) | VFDAC-12 | 5 | HP | 2004
HLS | VARIABLE FREQUENCY DRIVE (<=5 HP) | VFDAC-8 | 5 | HP | 2004
ADSS | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU-1 TO 25 | 25 | HP | 2005
ADSS | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU-26 TO 50 | 25 | HP | 2005
ADSS | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (10"-18" DIAMETER) | EF-2 | 1 | EA | 2005
ADSS | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (20"-22" DIAMETER) | EF-3 | 1 | EA | 2005
ADSS | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (20"-22" DIAMETER) | EF-4 | 1 | EA | 2005
ADSS | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (20"-22" DIAMETER) | EF-1 | 1 | EA | 2005
CD6 - Bldg A | AIR HANDLING UNIT - OUTDOOR MAKEUP, GAS (208-263 MBH INPUT) | MAU-1 | 250 | MBH | 2006
CD6 - Bldg A | COMMERCIAL KITCHEN EQUIPMENT ESTIMATE BY SQUARE FOOT |  | 700 | SF | 2006
CD6 - Bldg A | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (10"-18" DIAMETER) | EF-3 | 1 | EA | 2006
CD6 - Bldg A | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (20"-22" DIAMETER) | EF-1 | 1 | EA | 2006
CD6 - Bldg A | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (20"-22" DIAMETER) | EF-2 | 1 | EA | 2006
CD6 - Bldg A | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-2 | 5 | TON | 2006
CD6 - Bldg A | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-1 | 5 | TON | 2006
CD6 - Bldg A | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-7 | 4 | TON | 2006
CD6 - Bldg A | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-6 | 5 | TON | 2006
CD6 - Bldg A | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-5 | 5 | TON | 2006
CD6 - Bldg A | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-4 | 5 | TON | 2006
CD6 - Bldg A | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-3 | 5 | TON | 2006
CD7 - Bldg B | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (20"-22" DIAMETER) | EF-4 | 1 | EA | 2006
CD7 - Bldg B | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (20"-22" DIAMETER) | EF-5 | 1 | EA | 2006
CD7 - Bldg B | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-9 | 5 | TON | 2006
CD7 - Bldg B | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-10 | 5 | TON | 2006
CD7 - Bldg B | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-11 | 5 | TON | 2006
CD7 - Bldg B | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (5- 9 TON) | AC-8 | 6 | TON | 2006
CD8 - Mod | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY, 2.5" SP (<=30 HP) | EF-9 | 1 | HP | 2006
CD8 - Mod | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | PKG-1 | 4 | TON | 2006
CD8 - Mod | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | PKG-2 | 4 | TON | 2006
CD9 - Mod | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY, 2.5" SP (<=30 HP) | EF-9 | 1 | HP | 2006
CD9 - Mod | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | PKG-1 | 4 | TON | 2006
CD9 - Mod | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | PKG-2 | 4 | TON | 2006
CD10 - Mod | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY, 2.5" SP (<=30 HP) | EF-9 | 1 | HP | 2006
CD10 - Mod | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | PKG-1 | 4 | TON | 2006
CD10 - Mod | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | PKG-2 | 4 | TON | 2006
Art/Gallery | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU-12 | 1 | HP | 2006
Art/Gallery | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU-6 | 1 | HP | 2006
Art/Gallery | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU-7 | 1 | HP | 2006
Art/Gallery | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU-8 | 1 | HP | 2006
Art/Gallery | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU-9 | 1 | HP | 2006
Art/Gallery | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU-10 | 1 | HP | 2006
Art/Gallery | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU-11 | 1 | HP | 2006
Art/Gallery | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | AHU-1 | 1 | HP | 2006
Art/Gallery | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU-1 | 1 | HP | 2006
Art/Gallery | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU-2 | 1 | HP | 2006
Art/Gallery | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU-3 | 1 | HP | 2006
Art/Gallery | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU-4 | 1 | HP | 2006
Art/Gallery | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | FCU-5 | 1 | HP | 2006
Art/Gallery | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY, 2.5" SP (<=30 HP) | EF-1 | 5 | HP | 2006
Art/Gallery | FAN - UTILITY SET, 1/4" SP (4-12 HP) | EF-4 | 5 | HP | 2006
Art/Gallery | FAN - UTILITY SET, 1/4" SP (4-12 HP) | EF-5 | 5 | HP | 2006
Art/Gallery | FAN - UTILITY SET, 1/4" SP (4-12 HP) | EF-6 | 5 | HP | 2006
Art/Gallery | FAN - UTILITY SET, 1/4" SP (4-12 HP) | EF-7 | 5 | HP | 2006
Art/Gallery | FAN - UTILITY SET, 1/4" SP (4-12 HP) | EF-2 | 5 | HP | 2006
Art/Gallery | FAN - UTILITY SET, 1/4" SP (4-12 HP) | EF-3 | 5 | HP | 2006
Art/Gallery | DUCTLESS DX SPLIT SYSTEM (1-2 TON) | SSD-1 | 2 | TON | 2006
Art/Gallery | DUCTLESS DX SPLIT SYSTEM (1-2 TON) | SSD-2 | 2 | TON | 2006
Campus Cent | AIR HANDLING UNIT - OUTDOOR PACKAGE (5-8 HP) | AC-18 | 8 | HP | 2012
Campus Cent | AIR HANDLING UNIT - OUTDOOR PACKAGE (8-12 HP) | AC-17 | 10 | HP | 2012
Campus Cent | AIR HANDLING UNIT - OUTDOOR MAKEUP, GAS (140-208 MBH INPUT) | MAU-5 | 150 | MBH | 2006
Campus Cent | AIR HANDLING UNIT - OUTDOOR MAKEUP, GAS (140-208 MBH INPUT) | MAU-6 | 150 | MBH | 2006
Campus Cent | AIR HANDLING UNIT - OUTDOOR MAKEUP, GAS (140-208 MBH INPUT) | MAU-7 | 150 | MBH | 2006
Campus Cent | AIR HANDLING UNIT - OUTDOOR MAKEUP, GAS (140-208 MBH INPUT) | MAU-1 | 200 | MBH | 2006
Campus Cent | AIR HANDLING UNIT - OUTDOOR MAKEUP, GAS (140-208 MBH INPUT) | MAU-2 | 200 | MBH | 2006
Campus Cent | AIR HANDLING UNIT - OUTDOOR MAKEUP, GAS (140-208 MBH INPUT) | MAU-3 | 150 | MBH | 2006
Campus Cent | AIR HANDLING UNIT - OUTDOOR MAKEUP, GAS (140-208 MBH INPUT) | MAU-4 | 150 | MBH | 2006
Campus Cent | WALK-IN REFRIGERATOR OR FREEZER STRUCTURE | FRIDGE | 80 | SF | 2006
Campus Cent | WALK-IN REFRIGERATOR OR FREEZER STRUCTURE | FRIDGE | 80 | SF | 2006
Campus Cent | WALK-IN REFRIGERATOR OR FREEZER STRUCTURE | FREEZER | 80 | SF | 2006
Campus Cent | WALK-IN REFRIGERATOR OR FREEZER STRUCTURE | FREEZER | 80 | SF | 2006
Campus Cent | REFRIGERATION SYSTEM - WALK-IN, 2 EVAP FANS, 6700 BTUH, CONDENSER | FRIDGE | 1 | EA | 2006
Campus Cent | REFRIGERATION SYSTEM - WALK-IN, 2 EVAP FANS, 6700 BTUH, CONDENSER | FRIDGE | 1 | EA | 2006
Campus Cent | REFRIGERATION SYSTEM - WALK-IN, 2 EVAP FANS, 6700 BTUH, CONDENSER | FREEZER | 1 | EA | 2006
Campus Cent | REFRIGERATION SYSTEM - WALK-IN, 2 EVAP FANS, 6700 BTUH, CONDENSER | FREEZER | 1 | EA | 2006
Campus Cent | WALK-IN REFRIGERATOR OR FREEZER STRUCTURE | FRIDGE | 80 | SF | 2006
Campus Cent | WALK-IN REFRIGERATOR OR FREEZER STRUCTURE | FRIDGE | 80 | SF | 2006
Campus Cent | WALK-IN REFRIGERATOR OR FREEZER STRUCTURE | FREEZER | 80 | SF | 2006
Campus Cent | WALK-IN REFRIGERATOR OR FREEZER STRUCTURE | FREEZER | 80 | SF | 2006
Campus Cent | REFRIGERATION SYSTEM - WALK-IN, 2 EVAP FANS, 6700 BTUH, CONDENSER | FRIDGE | 1 | EA | 2006
Campus Cent | REFRIGERATION SYSTEM - WALK-IN, 2 EVAP FANS, 6700 BTUH, CONDENSER | FRIDGE | 1 | EA | 2006
Campus Cent | REFRIGERATION SYSTEM - WALK-IN, 2 EVAP FANS, 6700 BTUH, CONDENSER | FREEZER | 1 | EA | 2006
Campus Cent | REFRIGERATION SYSTEM - WALK-IN, 2 EVAP FANS, 6700 BTUH, CONDENSER | FREEZER | 1 | EA | 2006
Campus Cent | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY, 2.5" SP (<=30 HP) | EF-3 | 1 | HP | 2006
Campus Cent | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY, 2.5" SP (<=30 HP) | EF-2 | 1 | HP | 2006
Campus Cent | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY, 2.5" SP (<=30 HP) | AIR CURTAIN | 3 | HP | 2006
Campus Cent | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY, 2.5" SP (<=30 HP) | KITCHEN ROOF | 2 | HP | 2006
Campus Cent | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY, 2.5" SP (<=30 HP) | EF-4 | 1 | HP | 2006
Campus Cent | CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CU-1 | 2 | TON | 2006
Campus Cent | CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CU-2 | 2 | TON | 2006
Campus Cent | CONDENSING UNIT, EVAPORATIVE | MAU-7 | 4 | TON | 2006
Campus Cent | CONDENSING UNIT, EVAPORATIVE | MAU-5 | 4 | TON | 2006
Campus Cent | CONDENSING UNIT, EVAPORATIVE | MAU-6 | 4 | TON | 2006
Campus Cent | CONDENSING UNIT, EVAPORATIVE | MAU-1 | 4 | TON | 2006
Campus Cent | CONDENSING UNIT, EVAPORATIVE | MAU-2 | 4 | TON | 2006
Campus Cent | CONDENSING UNIT, EVAPORATIVE | MAU-3 | 4 | TON | 2006
Campus Cent | CONDENSING UNIT, EVAPORATIVE | MAU-4 | 4 | TON | 2006
Campus Cent | EVAPORATOR UNIT, NO HEAT (1.5-2 TON) | ROOM 146 | 2 | TON | 2006
Campus Cent | EVAPORATOR UNIT, NO HEAT (1.5-2 TON) | ROOM 160 | 2 | TON | 2006
Campus Cent | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-14 | 4 | TON | 2006
Campus Cent | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-16 | 3 | TON | 2006
Campus Cent | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-13 | 4 | TON | 2006
Campus Cent | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-11 | 3 | TON | 2006
Campus Cent | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-5 | 3 | TON | 2006
Campus Cent | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-6 | 4 | TON | 2006
Campus Cent | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-7 | 4 | TON | 2006
Campus Cent | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | AC-15 | 5 | TON | 2006
Campus Cent | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (5- 9 TON) | AC-3 | 8 | TON | 2006
Campus Cent | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (5- 9 TON) | AC-10 | 8 | TON | 2006
Campus Cent | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (5- 9 TON) | AC-8 | 8 | TON | 2006
Campus Cent | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (9-35 TON) | AC-1 | 13 | TON | 2006
Campus Cent | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (9-35 TON) | AC-2 | 10 | TON | 2006
Campus Cent | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (9-35 TON) | AC-9 | 20 | TON | 2006
Campus Cent | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (9-35 TON) | AC-12 | 10 | TON | 2006
Campus Cent | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (9-35 TON) | AC-4 | 10 | TON | 2006
SHS | HVAC CONTROLS SYSTEM - MEDICAL CLINIC |  | 2400 | SF | 2008
SHS | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY, 2.5" SP (<=30 HP) | EF-1 | 1 | HP | 2008
SHS | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY, 2.5" SP (<=30 HP) | EF-2 | 1 | HP | 2008
SHS | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | PKG-02 | 4 | TON | 2008
SHS | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | PKG-03 | 3 | TON | 2008
SHS | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | PKG-01 | 5 | TON | 2008
M&O | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (10"-18" DIAMETER) | EF-MO-1 | 1 | EA | 2009
M&O | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (10"-18" DIAMETER) | EF-MO-2 | 1 | EA | 2009
M&O | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (10"-18" DIAMETER) | EF-MO-3 | 1 | EA | 2009
M&O | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (10"-18" DIAMETER) | EF-MO-4 | 1 | EA | 2009
M&O | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (10"-18" DIAMETER) | EF-MO-5 | 1 | EA | 2009
M&O | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (10"-18" DIAMETER) | EF-MO-6 | 1 | EA | 2009
M&O | DUCTLESS DX SPLIT SYSTEM (1-2 TON) | SS-D1 | 2 | TON | 2009
M&O | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (9-35 TON) | PKG-001 | 10 | TON | 2009
Transportion | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (20"-22" DIAMETER) | M0-1 | 1 | EA | 2009
Transportion | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (20"-22" DIAMETER) | M0-2 | 1 | EA | 2009
Transportion | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (20"-22" DIAMETER) | M0-3 | 1 | EA | 2009
Transportion | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (20"-22" DIAMETER) | M0-4 | 1 | EA | 2009
Transportion | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (20"-22" DIAMETER) | M0-5 | 1 | EA | 2009
Transportion | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (20"-22" DIAMETER) | M0-6 | 1 | EA | 2009
Transportion | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | HP-M01 | 4 | TON | 2008
Transportion | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | HP-M02 | 4 | TON | 2008
Transportion | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | HP-M03 | 4 | TON | 2008
KVCR/M&C | COMPUTER ROOM AC UNIT – REFRIG., EXCL. HEAT REJECTION (10-20 TON) | AC-1 | 15 | TON | 2010
KVCR/M&C | COMPUTER ROOM AC UNIT – REFRIG., EXCL. HEAT REJECTION (10-20 TON) | AC-2 | 15 | TON | 2010
KVCR/M&C | DRY COOLER - REFRIGERANT OR GLYCOL | CU-MC-1 | 15 | TON | 2010
KVCR/M&C | DRY COOLER - REFRIGERANT OR GLYCOL | CU-MC-2 | 15 | TON | 2010
KVCR/M&C | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY, 2.5" SP (<=30 HP) | EAST ROOF | 1 | HP | 2010
KVCR/M&C | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY, 2.5" SP (<=30 HP) | WEST ROOF | 1 | HP | 2010
KVCR/M&C | CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | SANYO | 2 | TON | 2010
KVCR/M&C | CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | FCU MC 6 | 3 | TON | 2010
KVCR/M&C | CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | FCU MC 7 | 3 | TON | 2010
KVCR/M&C | CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | CARRIER | 4 | TON | 2010
KVCR/M&C | EVAPORATOR UNIT, NO HEAT (1.5-2 TON) | SANYO | 2 | TON | 2010
KVCR/M&C | EVAPORATOR UNIT, NO HEAT (2-3 TON) | MITSUBISHI 6 | 3 | TON | 2010
KVCR/M&C | EVAPORATOR UNIT, NO HEAT (2-3 TON) | MITSUBISHI 7 | 3 | TON | 2010
KVCR/M&C | EVAPORATOR UNIT, NO HEAT (>3 TON) | CARRIER | 4 | TON | 2010
KVCR/M&C | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (5- 9 TON) | AC MC 2 | 8 | TON | 2010
KVCR/M&C | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (9-35 TON) | AC MC 3 | 18 | TON | 2010
KVCR/M&C | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (9-35 TON) | AC MC 1 | 20 | TON | 2010
KVCR/M&C | PACKAGE HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (35-55 TON) | AC MC 4 | 40 | TON | 2010
North Hall | AIR HANDLING UNIT - OUTDOOR PACKAGE (>17 HP) | AC-NH-3-410A | 20 | HP | 2010
North Hall | AIR HANDLING UNIT - OUTDOOR PACKAGE (>17 HP) | AC-NH-1-410A | 20 | HP | 2010
North Hall | AIR HANDLING UNIT - OUTDOOR PACKAGE (>17 HP) | AC-NH-2-410A | 20 | HP | 2010
North Hall | AIR HANDLING UNIT - OUTDOOR PACKAGE (>17 HP) | AC-NH-4-410A | 20 | HP | 2010
North Hall | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (10"-18" DIAMETER) | EF-3 | 1 | EA | 2010
North Hall | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (20"-22" DIAMETER) | EF-2 | 1 | EA | 2010
North Hall | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (25"-30" DIAMETER) | EF-1 | 1 | EA | 2010
North Hall | DUCTLESS DX SPLIT SYSTEM (1-2 TON) | FCU-7 | 2 | TON | 2010
North Hall | DUCTLESS DX SPLIT SYSTEM (1-2 TON) | FCU-1 | 2 | TON | 2010
North Hall | DUCTLESS DX SPLIT SYSTEM (1-2 TON) | FCU-2 | 2 | TON | 2010
North Hall | DUCTLESS DX SPLIT SYSTEM (1-2 TON) | FCU-3 | 2 | TON | 2010
North Hall | DUCTLESS DX SPLIT SYSTEM (1-2 TON) | FCU-4 | 2 | TON | 2010
North Hall | DUCTLESS DX SPLIT SYSTEM (1-2 TON) | FCU-5 | 2 | TON | 2010
North Hall | DUCTLESS DX SPLIT SYSTEM (1-2 TON) | FCU-6 | 2 | TON | 2010
North Hall | PUMP - ELECTRIC (<=10 HP) | HWP-1 | 5 | HP | 2010
North Hall | PUMP - ELECTRIC (<=10 HP) | HWP-2 | 3 | HP | 2010
North Hall | PUMP - ELECTRIC (<=10 HP) | HWP-3 | 3 | HP | 2010
PS | AIR HANDLING UNIT - OUTDOOR PACKAGE (>17 HP) | AHU-CP-2 | 25 | HP | 2011
PS | AIR HANDLING UNIT - OUTDOOR PACKAGE (>17 HP) | AHU-CP-1 | 25 | HP | 2011
PS | AIR HANDLING UNIT - OUTDOOR PACKAGE (>17 HP) | AHU-CP-3 | 25 | HP | 2011
PS | FAN - CENTRIFUGAL ROOF EXHAUST, 1/4" SP (20"-22" DIAMETER) | EF-CP-5 | 1 | EA | 2011
PS | FAN - UTILITY SET, 1/4" SP (4-12 HP) | EF-CP-7 | 5 | HP | 2011
PS | FAN - MIXED-FLOW, SHORT STACK, EXHAUST (<=30 HP) | EF-CP-1 | 25 | HP | 2011
PS | FAN - MIXED-FLOW, SHORT STACK, EXHAUST (<=30 HP) | EF-CP-2 | 25 | HP | 2011
PS | DUCTLESS DX SPLIT SYSTEM (1-2 TON) | CU-CP-23 | 2 | TON | 2011
PS | DUCTLESS DX SPLIT SYSTEM (1-2 TON) | CU-CP-12 | 2 | TON | 2011
PS | DUCTLESS DX SPLIT SYSTEM (1-2 TON) | CU-CP-32 | 2 | TON | 2011
PS | DUCTLESS DX SPLIT SYSTEM (1-2 TON) | CU-CP-31 | 2 | TON | 2011
PS | DUCTLESS DX SPLIT SYSTEM (1-2 TON) | CU-CP-13 | 2 | TON | 2011
PS | DUCTLESS DX SPLIT SYSTEM (1-2 TON) | CU-CP-21 | 2 | TON | 2011
PS | DUCTLESS DX SPLIT SYSTEM (1-2 TON) | CU-CP-22 | 2 | TON | 2011
PS | DUCTLESS DX SPLIT SYSTEM (1-2 TON) | CU-CP-24 | 2 | TON | 2011
PS | DUCTLESS DX SPLIT SYSTEM (1-2 TON) | CU-CP-11 | 2 | TON | 2011
PS | PUMP - ELECTRIC (<=10 HP) | ERWP-1 | 8 | HP | 2011
PS | PUMP - ELECTRIC (<=10 HP) | HHWP-CP-1 | 8 | HP | 2011
PS | PUMP - ELECTRIC (<=10 HP) | CHWP-1 | 8 | HP | 2011
PS | PUMP - ELECTRIC (<=10 HP) | CHWP-2 | 8 | HP | 2011
PS | PUMP - ELECTRIC (<=10 HP) | HWP-1 | 8 | HP | 2011
PS | VARIABLE FREQUENCY DRIVE (5-7.5 HP) | VFDCHWP-1 | 8 | HP | 2011
PS | VARIABLE FREQUENCY DRIVE (5-7.5 HP) | VFDCHWP-2 | 8 | HP | 2011
PS | VARIABLE FREQUENCY DRIVE (5-7.5 HP) | VFDHHWP-1 | 8 | HP | 2011
Business | AIR HANDLING UNIT - INDOOR (12-17 HP) | AHU-1 | 15 | HP | 2013
Business | AIR HANDLING UNIT - INDOOR (12-17 HP) | AHU-2 | 15 | HP | 2013
Business | AIR HANDLING UNIT - INDOOR (12-17 HP) | AHU-3 | 15 | HP | 2013
Business | AIR HANDLING UNIT - INDOOR (12-17 HP) | AHU-4 | 15 | HP | 2013
Business | FAN - AXIAL, RETURN, 1.5" SP (3-5 HP) 13,200 CFM | RF-1 | 5 | HP | 2013
Business | FAN - AXIAL, RETURN, 1.5" SP (3-5 HP) 13,200 CFM | RF-2 | 5 | HP | 2013
Business | FAN - AXIAL, RETURN, 1.5" SP (3-5 HP) 13,200 CFM | RF-3 | 5 | HP | 2013
Business | FAN - AXIAL, RETURN, 1.5" SP (3-5 HP) 13,200 CFM | RF-4 | 5 | HP | 2013
Business | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY, 2.5" SP (<=30 HP) | EF-2 | 1 | HP | 2013
Business | CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | DAIKIN | 2 | TON | 2013
Business | CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | DAIKIN | 2 | TON | 2013
Business | EVAPORATOR UNIT, NO HEAT (1.5-2 TON) | ROOM 209 | 2 | TON | 2013
Business | EVAPORATOR UNIT, NO HEAT (1.5-2 TON) | ROOM 129 | 2 | TON | 2013
Business | PUMP - ELECTRIC (<=10 HP) | HWP1 | 2 | HP | 2013
Business | PUMP - ELECTRIC (<=10 HP) | HWP2 | 2 | HP | 2013
Business | PUMP - ELECTRIC (<=10 HP) | HW CIRC PUMP 1 | 1 | HP | 2013
Business | PUMP - ELECTRIC (<=10 HP) | HW CIRC PUMP 2 | 1 | HP | 2013
Business | VARIABLE FREQUENCY DRIVE (<=5 HP) | HWP2 | 2 | HP | 2013
Business | VARIABLE FREQUENCY DRIVE (<=5 HP) | RF-1 | 5 | HP | 2013
Business | VARIABLE FREQUENCY DRIVE (<=5 HP) | RF-2 | 5 | HP | 2013
Business | VARIABLE FREQUENCY DRIVE (<=5 HP) | RF-3 | 5 | HP | 2013
Business | VARIABLE FREQUENCY DRIVE (<=5 HP) | RF-4 | 5 | HP | 2013
Business | VARIABLE FREQUENCY DRIVE (<=5 HP) | HWP1 | 2 | HP | 2013
Business | VARIABLE FREQUENCY DRIVE (10-15 HP) | AHU-1 | 15 | HP | 2013
Business | VARIABLE FREQUENCY DRIVE (10-15 HP) | AHU-2 | 15 | HP | 2013
Business | VARIABLE FREQUENCY DRIVE (10-15 HP) | AHU-3 | 15 | HP | 2013
Business | VARIABLE FREQUENCY DRIVE (10-15 HP) | AHU-4 | 15 | HP | 2013

## SBVC Chiller
SBVC Chiller List
Name | Make | Model | Size | Type
CH#1 | Trane | CVHF770 | 600 Ton | Centrifugal Chiller
CH#2 | Trane | CVHF770 | 600 Ton | Centrifugal Chiller
CT#1 | Evapco | USS-224-720 | 160,000 CFM | Cooling Tower
CT#2 | Evapco | USS-224-720 | 160,000 CFM | Cooling Tower
CWP#1 | Armstrong | 4300IVS-02 | 30 hp | Condenser Water Pump
CWP#2 | Armstrong | 4300IVS-02 | 30 hp | Condenser Water Pump
CHWP#1 | Armstrong | 4300IVS-02 | 15 hp | Chilled Water Pumps
CHWP#2 | Armstrong | 4300IVS-02 | 15 hp | Chilled Water Pumps
CHWP#3 | Armstrong | 4300IVS-02 | 75 hp | Chilled Water Pumps
CHWP#4 | Armstrong | 4300IVS-02 | 75 hp | Chilled Water Pumps
VFD - CWP#1 | Armstrong | N/A | 30 hp | Variable Frequency Drive
VFD - CWP#2 | Armstrong | N/A | 30 hp | Variable Frequency Drive
VFD - CHWP#1 | Armstrong | N/A | 15 hp | Variable Frequency Drive
VFD - CHWP#2 | Armstrong | N/A | 15 hp | Variable Frequency Drive
VFD - CHWP#3 | Armstrong | N/A | 75 hp | Variable Frequency Drive
VFD - CHWP#4 | Armstrong | N/A | 75 hp | Variable Frequency Drive
VFD – CT1 | Yaskawa | E7BVB-3C-BYP | 40 hp | Variable Frequency Drive
VFD – CT2 | Yaskawa | E7BVB-3C-BYP | 40 hp | Variable Frequency Drive

## SBVC Boilers
SBVC Boiler List
Make | Model | Size | Type | Location
Lochinvar-Copper FinII | CFN501PM | 500,000 BTU | Boiler | Campus Center
Raypak-XFyre | 21864 | 700,000 BTU | Boiler | Business Building
Raypak-XFyre | 202555 | 700,000 BTU | Boiler | Business Building
Ajax | HRPG-48 | 1,600,000 BTU | Boiler | Liberal Arts Building
Raypak-HiDelta | 305650 | 650,000 BTU | Boiler | North Hall
Raypak-HiDelta | 305651 | 650,000 BTU | Boiler | North Hall
Raypak-HiDelta | 308081 | 1,530,000 BTU | Boiler | Physical Sciences
Raypak-HiDelta | 308080 | 1,530,000 BTU | Boiler | Physical Sciences
DynaFlame DFIT | DFIT 1500-1 | 1,500,000 BTU | Boiler | Old Central Plant
Lockinvar-PowerFin | PBN1000 | 1,000,000 BTU | Boiler | Old Central Plant
RBI Futera II | FB500 | 500,000 BTU | Boiler | Auditorium
RBI Futera II | FB500 | 500,000 BTU | Boiler | Auditorium
Lockinvar-PowerFin | CFN1261PM | 1,260,000 BTU | Boiler | Art Building
Lockinvar-PowerFin | PBN1500 | 1,500,000 BTU | Boiler | Life Science
Lockinvar-PowerFin | PBN1500 | 1,500,000 BTU | Boiler | Life Science
Aerco – Benchmark | BMK2000 | 2,000,000 BTU | Boiler | Gym
Aerco – Benchmark | BMK2000 | 2,000,000 BTU | Boiler | Gym
Aerco – Benchmark | BMK2000 | 2,000,000 BTU | Boiler | Gym
TBD | TBD | 1,999,000 BTU | Boiler | Theater Basement
TBD | TBD | 1,999,000 BTU | Boiler | Theater Basement
TBD | TBD | <5 HP | Boiler Pump | Theater Basement
TBD | TBD | <5 HP | Boiler Pump | Theater Basement
Bell & Gossett | 189105LF | 1.4 hp | Boiler Pump | Campus Center
Bell & Gossett | 189105LF | 1.4 hp | Boiler Pump | Business Building
Bell & Gossett | 189105LF | 1.4 hp | Boiler Pump | Business Building
Bell & Gossett | N/A | 5 hp | Boiler Pump | Liberal Arts Building
Bell & Gossett | N/A | 5 hp | Boiler Pump | Liberal Arts Building
Bell & Gossett | 189105LF | 1.4 hp | Boiler Pump | North Hall
Bell & Gossett | 189105LF | 1.4 hp | Boiler Pump | North Hall
Bell & Gossett | N/A | 2 hp | Boiler Pump | Physical Sciences
Bell & Gossett | N/A | 2 hp | Boiler Pump | Physical Sciences
Bell & Gossett | N/A | 2 hp | Boiler Pump | Old Central Plant
Bell & Gossett | N/A | 2 hp | Boiler Pump | Old Central Plant
Bell & Gossett | 189105LF | 1.4 hp | Boiler Pump | Auditorium
Bell & Gossett | 189105LF | 1.4 hp | Boiler Pump | Auditorium
Bell & Gossett | N/A | 2 hp | Boiler Pump | Art Building
Bell & Gossett | PBN1500 | 2 hp | Boiler Pump | Life Science
Bell & Gossett | PBN1500 | 2 hp | Boiler Pump | Life Science
Bell & Gossett | N/A | 2 hp | Boiler Pump | Gym
Bell & Gossett | N/A | 2 hp | Boiler Pump | Gym